New P-Body Analysis Pipeline:

- 3D_spot_detection.ijm (FIJI) – best to run overnight

Input: Folder directory with separated conditions (i.e. Ctl, HS, HS_2H_R…)

Things to change:

Conds – change to conditions of experiment

Thresholds – keep the threshold at 200, but there should be as many thresholds as there are conditions in the experiment.

PB channel – Make sure to change the PB files to detect the channel it was imaged in (either 640 or 740)

Output: SpotDetect folder in each condition with csv files

- PBody_intensity_threshold.py (Spyder)

Input: Same directory as step 1 – should be pasted into line 36

Things to change:

Conditions - change to conditions of experiment

Thresholds – The thresholds consist of lists low1, up1, low2, up2. low1 and up1 are the lower and upper bounds of the best-fit for lower intensities. low2 and up2 are the lower and upper bounds of the best-fit for higher intensities. There should be as many elements in all of these lists as there are conditions. The program can be run initially with any threshold.

- If error ‘y-data cannot be empty’ it is possible that there are not enough data points in the low or high intensities based on the thresholds. If the error is on line 98, low1 and up1 need to be adjusted to include more data points. If the error is on line 105, low2 and up2 need to be adjusted to include more data points.

This should produce CCDF curves for each condition in the Plots tab. The curves will look like below. The low1, up1, low2, and up2 values should be adjusted so the lines fit the curves, as shown below. The threshold shown at the top reflects the threshold for each condition, used in the following code.

- 3D_spot_seg.ijm (FIJI) – best to run overnight

Input: Folder directory with separated conditions (i.e. Ctl, HS, HS_2H_R…)

Things to change:

Conditions – change to conditions of experiment

Thresholds – change the thresholds to those determined from the CCDF curves in the previous step. Should be a list, matching the order of conditions.

PB channel – Make sure to change the PB files to detect the channel it was imaged in (either 640 or 740)

Output: 3dSpotSeg folder in each condition.

- 3dSpotSeg.py (Spyder)

Input: Prompted when you run code - Folder directory with separated conditions (i.e. Ctl, HS, HS_2H_R…)

Things to change:

Conditions – change to conditions of experiment

PB channel – Make sure to change the PB files to detect the channel it was imaged in (either 640 or 740)

Output: 10 csv files (IntensityIn, IntensityOut, numPBs, numRNA, ParCoef, PBIndex, PBIntmean, PBradius, PBsize, and RNAIntensity) found in the input directory.

- Once all replicates are complete: PBody_Analysis_Plotting.py (Spyder)

NOTE: This is used for two relevant plots: mean PB Radius and standard deviation, partition coefficient for size separated PBs

Input: Folder directory with separated conditions for all replicates – i.e dir1 = “Rep_1”, dir2 = “Rep2”, etc.

Output: Excel files for Prism plotting and png of plots from python into directory of choosing.